Construction Employee Safety Manual

An Employee Guide to Safety Policies and Procedures

to Support a Safety-conscious Work Environment

Provided by: Thor Insurance & Registries Ltd

Legal disclaimer to users of this employee handbook:

The materials presented herein are for general reference only. Federal, provincial and/or local laws, or individual circumstances, may require the addition of policies, amendment of individual policies, and/or the entire manual to meet specific situations. These materials are intended to be used only as guides and should not be used, adopted, or modified without the advice of legal counsel. These materials are presented, therefore, with the understanding that the Company is not engaged in rendering legal, accounting, or other professional service. If legal advice or other expert assistance is required, the services of a competent professional should be sought. © 2008-2013 Zywave, Inc. All rights reserved.

recognizes that our people drive the business. As our most critical resource, employees will be safeguarded through training, provision of appropriate work surroundings, and procedures that foster protection of health and safety. All work conducted by ’s employees will take into account the intent of this policy. No duty, no matter its perceived result, will be deemed more important than employee health and safety.

is firmly committed to the safety of our employees. We will do everything possible to prevent workplace accidents, and we are committed to providing a safe working environment for all employees.

We value our employees not only as employees but also as human beings who are critical to the success of their families, the local community and .

Employees are encouraged to report any unsafe work practices or safety hazards encountered on the job. All accidents and/or incidents (no matter how slight) are to be reported immediately to the supervisor on duty.

A key factor in implementing this policy will be the strict compliance to all applicable federal, provincial and local laws, and company policies and procedures. Failure to comply with these policies may result in disciplinary actions.

Respecting this,  will make every reasonable effort to provide a safe and healthful workplace that is free from any recognized or known potential hazards. Additionally,  subscribes to these principles:

All accidents are preventable through implementation of effective safety and health control policies and programs.

Safety and health controls are a major part of our work every day.

Accident prevention is good business. It minimizes human suffering, promotes better working conditions for everyone, holds  in higher regard with customers and increases productivity. This is why we will comply with all safety and health regulations that apply to the course and scope of operations.

Management is responsible for providing the safest possible workplace for employees. Consequently, management of  is committed to allocating and providing all of the resources needed to promote and effectively implement this safety policy.

Employees are responsible for following safe work practices and company rules, and for preventing accidents and injuries.  Management will establish lines of communication to solicit and receive comments, information, suggestions and assistance from employees where safety and health are concerned.

Management and supervisors of  will set an example with good attitudes and strong commitment to safety and health in the workplace. Toward this end, management must monitor company safety and health performance, as well as work environment and conditions to ensure that program objectives are achieved.

Our safety program applies to all employees and individuals affected or associated in any way by the scope of this business.  Everyone’s goal must be to constantly improve safety awareness and to prevent accidents and injuries.

Everyone at  must be involved and committed to safety. This must be a team effort. Together, we can prevent accidents and injuries. Together, we can keep each other safe and healthy in the workplace.

President							Risk Manager

### COMMITMENT TO SAFETY	 2

TABLE OF CONTENTS	 3

EMPLOYEE SAFETY RESPONSIBILITIES	 4

SAFETY ORIENTATION TRAINING	 5

RETURN TO WORK POLICY	 6-7

EMERGENCY ACTION PLAN	 8-9

EMERGENCY CONTACT INFORMATION	 10

WORKPLACE ABUSE AND HARASSMENT POLICY	 11-12

HAZARDOUS SUBSTANCE SPILL RESPONSE POLICY	 13-16

VEHICLE USE POLICY	 17

GENERAL COMPUTER / EMAIL / INTERNET SECURITY AND USE POLICY	 18-21

GENERAL SAFETY PRECAUTIONS	 22-25

JOB-SPECIFIC SAFETY PRECAUTIONS	 26-35

EMPLOYEE ACKNOWLEDGEMENT FORM	 36

The primary responsibility of the employees of  is to perform their duties in a safe manner in order to prevent injury to themselves and others.

As a condition of employment, employees MUST become familiar with, observe, and obey ’s rules and established policies for health, safety, and preventing injuries while at work. Additionally, employees MUST learn the approved safe practices and procedures that apply to their work.

Before beginning special work or new assignments, an employee should review applicable and appropriate safety rules.

If an employee has any questions about how a task should be done safely, he/she is under instruction NOT to begin the task until a discussion has taken place with the supervisor. Together, a safer way will be determined to perform the job.

If, after discussing a safety situation with the supervisor, an employee still has questions or concerns, he or she is required to contact the Safety Coordinator.

NO EMPLOYEE IS EVER REQUIRED to perform work that he/she believes is unsafe or likely to cause injury or a health risk.

Conduct

“Horseplay,” practical jokes, etc., are forbidden. Employees are required to work in an injury-free manner displaying accepted levels of behaviour. Conduct that places the employee or others at risk, or which threatens or intimidates others, is forbidden.

Drugs and Alcohol

Use and/or possession of illegal drugs or alcohol on company property or on company time are forbidden.  Reporting for work while under the influence of illegal drugs or alcohol is forbidden.

Housekeeping

Employees are responsible to keep work areas clean and safe. Cleanup should occur several times throughout the day, with trash and waste disposed of in approved containers, drips/spills wiped up immediately, and equipment and tools put away as work is completed.

The following areas must remain clear of obstructions:

Aisles/exits

Fire extinguishers and emergency equipment

All electrical breakers, controls and switches

Injury Reporting

All work-related injuries must be reported to a supervisor immediately. After each medical appointment resulting from a work-related injury, the employee must contact the supervisor to discuss progress. The supervisor must be given any paperwork received at the appointment.

provides transitional Return to Work (light-duty) jobs for employees injured at work. Transitional work is meant to allow the injured or ill employee to heal under a doctor’s care while she/he remains productive. Employees are required to return to work immediately upon release.

Off-site Safety

Employees of  are required to follow all safety and security procedures during off-site visits. If the on-site contact person does not advise regarding safety hazards, the employee should consider emergency exit location(s), proper personal protective equipment and proper work attire.

These rules are established to help employees stay safe and injury free. Violation of the above rules, or conduct that does not meet minimum accepted work standards, may result in discipline up to and including discharge.

When working at a customer location, employees are required to follow the above rules, as well as all customer rules and procedures, and work in a manner that reflects positively on the company. Before operating any equipment at a customer location, permission must first be secured from the customer contact.

Purpose

is committed to providing safety- and health-related orientations and training for all employees at all levels of the company. The company will maintain and support a program to educate and familiarize employees with safety and health procedures, rules and safe work practices. The training subjects and materials have been developed using industry best-practices criteria and site-specific data.

The training may include, but not be limited to, the following:

Company-specific accident and incident data

Hazards associated with the work area

Hazards associated with a specific job or task

Operation of specific equipment

Personal protective equipment

Emergency procedures

Employee accident reporting requirements

Return to work program

Any required OH&S training not included or addressed above

Periodic Inspections

It is the policy of  that workplaces are subject to periodic safety and health inspections to ensure implementation and execution of our policies and procedures as relates to employees, contractors and vendors.

All employees are responsible for cooperating during these inspections and managers and supervisors are responsible for initiating corrective actions to improve items discovered during the walk-through inspection.

Incident Reporting

Any work-related injury or suspected injury must be reported immediately to your supervisor, job site foreman and to human resources. A first report of injury form must be completed. Failure to promptly report an injury may result in disciplinary action.

Human resources will issue a return to work evaluation form for the injured employee to take to the treating medical practitioner.  The employee must return this form to human resources by the next business day.

After each practitioner appointment, the employee must report to his or her supervisor and human resources to review his or her progress.

provides light-duty work for employees recovering from injury. Employees are required to return to light-duty work immediately upon release.

An accident investigation will be conducted to determine the root cause of the accident. The injured employee will be asked to participate in the investigation.

Purpose

This policy is in place to ensure  provides meaningful work activity for employees who are temporarily unable to perform all, or portions, of their regular work assignments or duties. This policy applies to employees suffering from either work- or non-work-related injury or illness. The goal is to allow valued company employees to return to productive, regular work as quickly as possible. By providing temporary transitional or modified work activity, injured employees remain an active and vital part of the company. Studies show that a well-constructed Return to Work Policy reduces lost time away from work, allows workers to recover more quickly and makes for a more positive work environment.

Scope

All active employees who become temporarily unable to perform their regular jobs due to a work-related or non-work-related injury or illness may be eligible for transitory work duties within the provisions of this program. Return to work tasks may be in the form of:

Changed duties within the scope of the employee’s current position

Other available jobs for which the employee qualifies outside the scope of his or her current position

An altered schedule of work hours

Definitions

Transitional duty is a therapeutic tool used to accelerate injured employees’ return to work by addressing the physical, emotional, attitudinal and environmental factors that otherwise inhibit a prompt return to work. These assignments are meant to be temporary and may not last longer than 90 days, though  permits multiple 90-day assignments back-to-back if it is medically warranted.

Alternate duty is a part of ’s Return to Work Policy that is designed as a placement service for individuals who have reached maximum medical improvement and are still unable to perform the essential functions of their pre-injury job.

Applicability

Length of Duty

If work is available that meets the limitations or restrictions set forth by the employee’s attending practitioner, that employee may be assigned transitional or modified work for a period not to exceed 90 days. Transitional or light-duty is a temporary program, and an employee’s eligibility in these reduced assignments will be based strictly on medical documentation and recovery progress.

Daily Application

An employee’s limitations and restrictions are effective 24 hours a day. Any employee who fails to follow his or her restrictions may cause a delay in healing or may further aggravate the condition. Employees who disregard their established restrictions, whether they are at work or not, may be subject to disciplinary action up to and including termination.

Qualification

Transitional or modified duty will be available to all employees on a fair and equitable basis with temporary assignments based on skill and abilities. Eligibility will be based upon completion of the Return to Work Evaluation Form by the employee’s attending medical professional. An employee on modified duty will be considered part of the regular shift staffing, with recognition of the employee’s limitations within the department.

Responsibilities

The following responsibilities apply to various levels within the company.

Senior management will ensure the policy’s enforcement among all levels at  and will actively promote and support this policy and the Return to Work Program as a whole.

Supervisors will support the employee’s return to work by identifying appropriate modified assignments and ensuring the employee does not exceed the physician’s set restrictions. Supervisors will also stay in regular contact with absent employees and communicate ’s attendance expectations clearly. They are also responsible for reporting any problems with employees and this policy to the return to work manager or program supervisor.

Injured or ill workers will notify their supervisors in a timely manner when their condition requires an absence. They will closely follow their physician’s medical treatment plan and actively participate in ’s Return to Work Program, which includes following all the guidelines of this policy. Injured employees will also help supervisors identify potential options for transitional duties that they discover. While supervisors are responsible for maintaining constant communication with the injured employee, the worker also has the obligation to maintain contact with  about their condition and status. The injured worker will complete all the required paperwork in a timely manner.

The return to work program manager will be trained in understanding the physical and psychosocial aspects of disability and will also understand the nuances of ’s Return to Work Program, policies and all associated forms. This individual will be able to testify in court as a vocational expert, if necessary. He or she will provide program leadership by facilitating communication between union officials, employees, managers and medical providers. This manager will own the responsibility of creating the  Job Bank and will assist supervisors with on-site problem solving.

Work Schedule

will do everything in its power to tailor the restricted work schedule to the injured employee’s normal, pre-condition work schedule. However, depending on the job limitations, it may be necessary for the employee to take on a specifically designed, temporary schedule to accommodate these restrictions.

Communication Expectations

If an employee is unable to work in any capacity, the employee must stay in constant communication with the return to work manager and the direct supervisor. Each must receive an update of the employee’s medical status on at least a weekly basis.

Medical Appointments

does not allow employees to schedule medical appointments that interfere with working hours. Employees may use time off for medical appointments if they have it available and if they coordinate the absence in advance with their supervisor. Nonemergency medical appointments not scheduled in advance may be cause for denial of time off.

The employee’s physician must complete the  Return to Work Evaluation Form for each visit to evaluate the impairment. It is the employee’s responsibility to inform  of his or her medical status after each doctor visit. This applies to both work-related and non-work-related injuries and illnesses that interfere with assigned duties.

Employee Procedures

In the event an injury or illness is work-related, report it to your supervisor immediately, or no later than the end of the shift on which the injury occurs.

Complete and sign a Report of Injury Form.

Let your supervisor know that you are seeking medical treatment and obtain a Return to Work Evaluation form. The Return to Work Evaluation form must be completed for each practitioner visit regardless of your choice of physician and regardless whether the condition is work-related or not.

Participate in the Return to Work Program on temporary transitional work for up to 90 days while your physician and supervisor continuously review your condition.

Refusal to Participate

If you are unable to return to your regular job but are capable of performing transitional duty, you must return to transitional duty. Employees who choose not to participate in the  Return to Work Program or follow all regulations in this Return to Work Policy may become ineligible for provincial workers’ compensation benefits and, in some cases, refusal to participate may be a basis for termination.

General Emergency Guidelines

Stay calm and think through your actions.

Know the emergency numbers:

  - Fire/police/ambulance: 911

  - Internal emergency number: (Insert Number if Applicable)

  - Human resources: (Insert Number or extension)

  - Page: (Insert number and instructions if applicable)

  - Operator: 0

Know where the exits are located.

In the event of any emergency, do not take elevators; use the stairs.

Do not hesitate to call or alert others if you believe that an emergency is occurring.

First-aid supplies and emergency equipment are located (insert location) for use by those who are authorized and properly trained.

Evacuation

Employees will be notified of a fire alarm either by the fire alarm system or by a paged announcement.

Upon becoming aware of a fire alarm, employees should immediately evacuate the job site. Do not delay evacuation to get personal belongings or to wait for co-workers. Also, all doors should be closed as the last person passes through. (Note: Never use elevators during fire alarm situations.)

Supervisors should be last to leave the area. Check the job site to be sure that all personnel have evacuated.

Any employee with difficulty in mobility, visual, hearing, or other condition that may hinder them from becoming aware of an emergency or evacuating should request special assistance through human resources.

Upon exiting the building, all personnel should report for a headcount.

If any employee is missing, an immediate report should be made to the incident commander who will in turn report to the first available fire department officer.

Employees should stay together in a group so that periodic updates on the situation can be issued.

The order to reoccupy a job site or building will be issued by the incident commander.

In the event of inclement weather, the incident commander will make arrangements for all personnel to move to shelter.

Fire Safety

Alert individuals in the immediate hazard area.

Activate a fire alarm or call (insert name) to page an emergency announcement.

If you have been trained, you can use a fire extinguisher following these instructions:

- P = Pull the safety pin

- A = Aim the nozzle at the base of the fire

- S = Squeeze the operating lever

- S = Sweep side-to-side to cover the base of the fire

*When using a fire extinguisher, always stay between the fire and an exit; stay low and back away when the fire is extinguished.

*Never feel that using a fire extinguisher is required. If the fire is too hot, too smoky or you are frightened, evacuate.

Medical Emergency

- Upon discovering a medical emergency, call 911.

- Notify the supervisor and report the nature of the medical emergency and location.

- Stay with the person involved, being careful not to come in contact with any bodily fluids.

- Send two people (greeters) to the entrance to await the fire department. One person should call and hold an elevator car. Sometimes two fire department units will arrive, so the second greeter should wait at the entrance to receive the second unit while the first greeter escorts the fire department personnel to the scene.

- Employees in the immediate vicinity of the emergency, but not directly involved, should leave the area.

- Human resources will make any necessary notifications to family members of the person suffering the medical emergency.

Severe Weather

- The supervisor will monitor a weather alert radio. If a severe weather report is issued, he or she will immediately page the following announcement: (insert announcement). (This announcement will be repeated three times.)

- Employees will shut down all equipment and will be instructed where to go for safety. The supervisor will take the weather radio with him or her. When the severe weather warning is cancelled, the supervisor will send runners to advise that it is safe to return to work areas. A general announcement will also be made.

Workplace Violence:

- Any employee who feels that he or she has been threatened should immediately report the incident to his or her supervisor and human resources.

- If you observe anyone exhibiting threatening behavior or making threatening statements, warn others in the area and immediately notify human resources—stay away from the person exhibiting the threatening behavior.

- Depending upon the level of concern, 911 may be called immediately.

- Never attempt to confront any person exhibiting threatening behavior.

- If you have reason to believe that events in your personal life could result in acts of violence occurring at work, you are strongly urged to confidentially discuss the issue with human resources so that a prevention plan can be developed.

EMERGENCY TELEPHONE NUMBERS:

FIRE DEPARTMENT:  _____________________________________________	
           TELEPHONE:  ______________________

POLICE DEPARTMENT:  __________________________________________	
                TELEPHONE:  _____________________

EMERGENCY MEDICAL SERVICES (AMBULANCE):  ________________	
TELEPHONE:  _____________________

HOSPITAL:  ______________________________________________________	
TELEPHONE:  _____________________

DOCTOR:  ______________________	ADDRESS: ____________________	
TELEPHONE:  _____________________

JOBSITE TELEPHONE NUMBERS:

PROJECT NAME/NUMBER:  ________________________________________________________________

ADDRESS:  ______________________________________________________	
TELEPHONE:  _____________________

SITE SUPERINTENDENT:  __________________________________________

Cell/Home TELEPHONE: ________________

CLIENT CONTACT:  _______________________________________________

OFFICE TELEPHONE:  _____________

Cell/Home TELEPHONE: ________________

Purpose

The purpose of this policy is to address issues of workplace abuse and harassment that arise at . Workplace abuse and harassment is not tolerated at , and any parties suspected of workplace abuse and harassment will be subject to investigation and disciplinary action.

It is the policy of  to maintain a work environment that is free from harassment based on race, colour, religion, sex (harassment of a sexual nature, including same-gender and gender-identity harassment), national origin, age, disability (mental or physical) and sexual orientation, and also to maintain an environment that is free from retaliatory harassment based on opposition to discrimination or participation in the discrimination complaint process.

In addition, it is the policy of  that no retaliation will be tolerated against any employee for reporting harassment under this or any other policy or procedure, or for assisting in any inquiry about such a report.

Scope

This policy applies to interactions between employees at . Employees who violate this policy are subject to disciplinary action. Supervisors who do not act on reports of workplace abuse or harassment are also subject to disciplinary action.

While vendors and clients will not attend ’s training or be subject to disciplinary action, employees are strongly encouraged to report any claims of workplace abuse and harassment that involve these parties.

Workplace abuse and harassment can occur at the worksite or workplace, in transit to the worksite or workplace, or through email or social media outlets. Abuse and harassment in any of these locations or mediums are forbidden.

Definitions

Workplace abuse can take the form of:

Workplace Bullying

Abusive or offensive language

Unwelcome behaviour

Unreasonable insults or criticism

Teasing and/or spreading rumors

Trivializing of work or achievements

Exclusion or isolation

Workplace Violence

Unwanted physical contact or proximity

Threatening words and/or actions

Damage to an individual’s personal property

Sexual Harassment

Requests for favours

Unwanted verbal or physical advances

Derogatory or suggestive comments

Offensive gestures, images or language

Employee’s Responsibility

does not tolerate workplace abuse in any form. Employees who witness workplace abuse or are themselves involved in an abusive situation are required to report the details of the situation to management immediately. If the abusive situation involves the employee’s direct manager, the employee may issue the report of abuse with another manager of his or her choosing at .

Employer’s Responsibility

Any reports of abuse will be followed up immediately with a thorough investigation and, when necessary, corrective action will be taken.  will:

- Listen to any charges issued by employees and treat all claims seriously.

- Maintain a professional and respectful relationship with the reporting employee.

- Focus solely on facts without issuing judgment.

- Investigate immediately.

- Maintain confidentiality throughout the investigation.

- Prepare a chronology of the incident.

- Gather information about other incidents, if the incident is not isolated.

- Interview the claimant, the accused and any available witnesses.

- Administer disciplinary action as appropriate to the case.

- Conduct follow-up interviews with the claimant to ensure abuse and/or harassment has ceased.

Disciplinary Action

Appropriate to the severity and frequency of the incident, disciplinary action may be administered. Discipline may take the form of the following:

- Written warning

- Required completion of a workplace bullying or sexual harassment seminar or class

- Temporary suspension from work environment

- Probation

- Transfer to a different position or department

- Demotion

- Dismissal

Ongoing Methods to Combat Workplace Violence

provides all new employees with training on the importance of maintaining respectful and safe working relationships. Retraining is provided for current employees as deemed necessary and upon any changes to the workplace abuse and harassment policy. Following training, the employee must review and sign ’s policy.

Purpose

This policy establishes how  will protect employees in the event of a hazardous substance spill or release. It will outline the emergency action plan as well as the roles employees are expected to take on. The policy is in place to keep ’s staff safe, but also to prevent environmental contamination.

After reading this policy, employees will understand:

- How to identify a hazardous substance spill or release

- What immediate actions he or she should take

- How his or her actions fit within the larger scope of ’s emergency response plan

Scope

This policy applies to all  employees who may witness or accidentally cause a hazardous substance spill or release.

What Qualifies as an Emergency Spill?

Not all spills are necessarily emergencies, even if they do involve hazardous substances. Incidental releases are spills that do not pose immediate or short-term safety or health hazards to employees in the vicinity or to those cleaning it up. However, the following will always constitute as emergency situations and require adherence to ’s emergency response plan:

- High concentrations of toxic substances, whether because of a spill or leak

- Any situation involving hazardous substances that could cause injury or be life-threatening

- Environments that present imminent danger to life and health (IDLH situations)

- Accidents that result in an oxygen-deficient atmosphere

- Conditions that pose a fire or explosion hazard

- Any situation that requires evacuation of an area or that requires immediate attention because of the danger posed to employees in that area

What Qualifies as a Hazardous Substance?

Each employee and contractor performing work for  is expected to know and understand what a hazardous substance is:

- A biological or other disease-causing agent

- Able to cause, or reasonably anticipated or expected to cause after release into the environment, death, disease, behavioural abnormalities, cancer, genetic mutation, physiological malfunctions or physiological deformations in people or their offspring upon exposure, ingestion, inhalation and/or assimilation

- Released by deposit, injection, dumping, spilling, leaking or placing near a site where the substance could feasibly enter the environment

How Hazardous Substances Will Be Identified

Each employee and contractor performing work for  is expected to understand how to identify a hazardous substance, as well as:

- Use ’s labelling system and Safety Data Sheets (SDS) to recognize a hazardous substance emergency

- Assess the potential outcomes associated with the hazardous substance emergency

- Have the ability to realize the need for additional resources and make appropriate notifications

First Responder Awareness Level

Individuals who are likely to witness a hazardous substance release but whose only responsibility is to notify the proper authorities must demonstrate the following:

Knowledge of hazardous substance risks, how they should be handled and the potential outcomes associated with the situation

The ability to specifically identify the hazardous substances, if possible

First Responder Operations Level

Individuals who have the responsibility of responding to hazardous substance releases for the purpose of protecting nearby people, property or environment from damage must demonstrate the following:

Understanding and knowledge of all requirements of the First Responder Awareness Level

Knowledge of ’s emergency response plan and how to implement it

Knowledge of hazard and risk assessment

Knowledge of personal protective equipment (PPE) appropriate for the situation and how to use it

Ability to classify, identify and verify known and unknown materials by using survey equipment

Knowledge of basic control, containment and/or confinement operations

Knowledge of basic chemical and toxicological terminology and behaviour

Hazardous Materials Technician

Members of the Hazardous Materials Team, who respond to releases with the purpose of actively and aggressively stopping them by patching, plugging or otherwise impeding, must demonstrate the following:

Understanding and knowledge of all requirements of the Hazardous Materials Technician Level

Understanding of the local, provincial and federal emergency response plans

Ability to classify, identify and verify known and unknown materials using advanced survey equipment

The ability to perform advanced control, containment and/or confinement operations with the resources and PPE available

Ability to implement decontamination procedures

Advanced knowledge of chemical, radiological and toxicological terminology and behaviour

On-scene Incident Commander

Members of the Hazardous Materials Team who assume control of the incident site in case of an emergency must demonstrate the following:

Ability to implement ’s incident command system

Ability to implement ’s emergency response plan

Understanding of the hazards and risks associated with employees working in chemical protective clothing

Understanding of the importance of decontamination procedures

Training

Training will be provided until each employee understands and is able to demonstrate the knowledge required for his or her position.

Training shall be provided not only for employees, but also ’s contractors who have the reasonable possibility of being present during a hazardous chemical release or spill.

Staff will receive additional, refresher training on these roles and responsibilities annually.

Incidental Spills

In the event a spill presents no immediate danger to the health and safety of employees or the environment:

Inform those in the immediate area that a spill has occurred.

If the chemical is flammable, eliminate any possible sources of ignition that may be in the area.

If anyone has come into direct contact with the chemical, a trained first responder must be contacted to assess the individual.

Determine what PPE is required to handle the hazardous material using the appropriate SDS.

Follow the cleanup and control methods listed in the appropriate SDS.

Make sure the area is completely decontaminated before work in that location resumes.

Notify your immediate supervisor of the incident so he or she may report it to (insert the department that monitors the chemicals used in your company’s operations).

Unknown Material Spills or Large spills

If a spill is very large or if the exact makeup or effects of the spilled chemical are unknown:

Immediately inform those in the area that a spill has occurred and that they must evacuate.

If the chemical is flammable, or if you are unsure whether it is flammable, eliminate any possible sources of ignition that may be in the area.

Leave any containers in the area to aid the first responder or Hazardous Materials Team in identifying the spill.

Close all doors to that area to keep the spill as contained as possible.

Activate the building’s fire alarm.

Notify (insert the department that monitors the chemicals used in your company’s operations) so they may send the appropriate assistance.

Do not attempt to clean up the spill yourself; wait until the first responders arrive to assess the situation.

If the first responders determine that the severity of the spill goes beyond their containment abilities, they will contact the Hazardous Materials Team.

Spills Creating an Immediate Health Threat

In the event a spill creates an immediate health threat to employees, patrons, visitors or any other witnesses in the area:

Evacuate the area immediately.

Leave everything in place and close all doors on the way out to isolate the area.

Activate the building’s fire alarm.

Once clear of the affected area, immediately notify (insert the department that monitors the chemicals used in your company’s operations) of the situation so they may send assistance.

Wait in a safe area near the entrance to the building until the Hazardous Materials Team arrives so you can explain the details of the situation.

Reporting

All  employees will be trained on and must comply with federal and provincial reporting standards for spills of hazardous substances.

Employee Knowledge

Both  employees and hired contractors working with the reasonable possibility of being around a hazardous chemical release will be made aware of the Hazardous Substance Spill Emergency Response Plan and understand each of its parts, which include vital information on:

- Pre-emergency planning, including recognition and prevention

- Personnel roles, lines of authority, training and communication standards

- Safe distances and places of refuge in case of emergency

- Site security and control standards

- Evacuation routes and procedures

- Decontamination procedures

- Emergency medical treatment and first-aid procedures

- Emergency alerting and response procedures

To:		All drivers of

Effective:

This policy applies to:

Vehicles owned, leased or rented to .

Personally owned vehicles driven by employees on behalf of .

The following policy has been established to encourage safe operation of vehicles and to clarify insurance issues relating to drivers and .

- All drivers must have a valid driver’s licence.

- Driving records will be checked periodically. Driving privileges may be suspended or terminated if an employee’s record indicates an unacceptable number of accidents or violations. Should the employee’s record fall into ’s insurance carrier’s guidelines of an “unacceptable driver,” his or her employment may be terminated.

- The supervisor must be notified of any change in an employee’s licence status or driving record.

When operating a private vehicle for  business:

- The employee’s Personal Auto Liability insurance is the primary payer. ’s insurance is in excess of the employee’s coverage.

- The employee should carry at least $(insert amount) per occurrence liability coverage. Evidence of insurance coverage is to be provided to  each year, by a copy of the policy’s Declaration page or a Certificate of Insurance.

- is not responsible for any physical damage to the employee’s vehicle. Employees must carry their own collision and comprehensive coverage.

- Employees must report mileage for expense reimbursement.

In the event of an accident, the employee should:

- Take necessary steps to protect the lives of him- or herself and others.

- Comply with police instructions.

- Do not assume or admit fault. Others will determine liability and negligence after thorough investigation.

- Report the accident to  as soon as possible.

# General Computer Security and Use Policy

Purpose

The  General Computer Security and Use Policy forms the foundation of the corporate Information Security Program. Information security policies are the principles that direct managerial decision-making and facilitate secure business operations. A concise set of security policies enables the IT team to manage the security of information assets and maintain accountability. These policies provide the security framework upon which all subsequent security efforts will be based. They define the appropriate and authorized behaviour for personnel approved to use  information assets.

Scope

The  General Computer Security and Use Policy applies to all employees, interns, contractors, vendors and anyone using  assets. Policies are the organizational mechanism used to manage the confidentiality, integrity and availability issues associated with information assets. Information assets are defined as any information system (hardware or software), data, networks and components owned or leased by  or its designated representatives.

Guidelines

All employees, contractors, vendors and any other person using or accessing  information or information systems must adhere to the following policies.

- All information systems within  are the property of  and will be used in compliance with  policy statements.

- Any personal information placed on  information system resources becomes the property of .

- Any attempt to circumvent  security policy statements and procedures (i.e., disconnecting or tunnelling a protocol through a firewall) is strictly prohibited.

- Unauthorized use, destruction, modification and/or distribution of  information or information systems is prohibited.

- All users will acknowledge understanding and acceptance by signing the appropriate  policy statements prior to use of  information assets and information systems.

- At a minimum, all users will be responsible for understanding and complying with the following policy statements (in subsequent pages):

- System Security Policy

- Internet Acceptable Use Policy

- Personal Equipment Policy

All users will report any irregularities found in information or information systems to the IT team immediately upon detection.

information systems and information will be subject to monitoring at all times. Use of  information systems constitutes acceptance of this monitoring policy.

Use of any  information system or dissemination of information in a manner bringing disrepute, damage or ill-will against  is not authorized.

Release of  information will be in accordance with  policy statements.

Users will not attach their own computer or test equipment to  computers or networks without prior approval of the IT team or its designated representative.

# System Security Policy

’s System Security Policy addresses access control, use of hardware, operating systems, software, servers and backup requirements for all systems maintained and operated by .

Applicability

The System Security Policy applies to all  employees, contractors, vendors and any other person using or accessing  information or information systems. Exceptions to this policy must be approved by the CIO or his or her designated representative.

Password System Security

In today’s information age, poorly selected, reusable passwords represent the most vulnerable aspects of information security. In fact, computer security experts estimate that 96 per cent of all security breaches occur because of inadequate safeguards of network usernames and passwords.  has adopted this policy to ensure that the private information of our clients and our proprietary corporate data are kept secure at all times. ’s authorized users must comply with creation, usage and storage policies to minimize risk to corporate information assets.

Passwords will conform to the following criteria:

Passwords will be a minimum of seven characters.

Passwords must consist of at least one uppercase letter, one lowercase letter and one number.

The sharing of passwords is prohibited.

Any suspicious queries regarding passwords will be reported to the IT team.

Passwords will be protected as  proprietary information. Writing them down or storing them unencrypted on the information system is prohibited.

Users will be required to change passwords every 90 days and may reuse passwords only after 10 different passwords have been used.

Accounts will be locked out after five failed password attempts in a 30-minute time period. Accounts can be reset by contacting the IT team or by waiting 30 minutes for the account to reset automatically.

Users will be forced to unlock their computers using their network password after 60 minutes of inactivity on their desktops.

All system passwords will be changed within 24 hours after a possible compromise.

When users leave the organization, their accounts will be immediately disabled or deleted.

If the user leaving the organization was a privileged user or a network administrator, all system passwords will be changed immediately.

# Internet Acceptable Use Policy

Internet access is provided to  employees to conduct  business. While these resources are to be used primarily for  business, the company realizes that employees may occasionally use them for personal matters and therefore provides access to nonoffensive personal sites during nonbusiness hours.

Nonbusiness Internet activity will be restricted to nonbusiness hours.  actively blocks nonbusiness sites during working hours. Working hours are defined as Monday through Friday from 7 a.m. to noon and from 12:45 p.m. to 5:00 p.m.

The definition of nonbusiness sites is at the sole discretion of the IT team. This definition can, and will, change without notice as the Internet continues to evolve.

Internet activity will be monitored for misuse.

Internet activities that can be attributed to a  domain address (such as posting to newsgroups, use of chat facilities and participation in mail lists) must not bring disrepute to  or associate  with controversial issues (e.g., sexually explicit materials).

Internet use must not have a negative effect on  operations.

Users will not make unauthorized purchases or business commitments through the Internet.

Internet services will not be used for personal gain.

Internet users will make full attribution of sources for materials collected from the Internet. Plagiarism or violation of copyright is prohibited.

Release of  proprietary information to the Internet (e.g., posting information to a newsgroup) is prohibited.

All Internet users will immediately notify the IT team of any suspicious activity.

All remote access to the  internal network through the Internet will be encrypted and authenticated in a manner authorized by the IT team.

Accessing personal social networking accounts (including but not limited to Facebook®, Twitter®, Google+®, MySpace®, LinkedIn®, Foursquare® and TUMBLR®) or using  email for social networking purposes is prohibited during working hours. The use of social networking sites for specific business purposes must be pre-approved or assigned by a manager or supervisor.

# Email Security Policy

The  Email Security Policy specifies mechanisms for the protection of information sent or retrieved through email. In addition, the policy guides representatives of  in the acceptable use of email. For this policy, email is described as any computer-based messaging including notes, memos, letters and data files that may be sent as attachments.

Applicability

The Email Security Policy applies to all  employees, contractors, vendors and any other person using or accessing  information or information systems. Exceptions to this policy must be approved by the CIO or his or her designated representative.

Policy

Authorized users are required to adhere to the following policies. Violators of any policy are subject to disciplinary actions, up to and including termination.

The following items are the corporate policy statements for access controls:

- All email on the  information systems, including personal email, is the property of . As such, all email can and will be periodically monitored for compliance with this policy.

- Individual email accounts are intended to be used only by the person to whom they are assigned. Special arrangements can be made to share information between team members, such as between a producer and an account representative. In all other cases, no user is authorized to open or read the email of another without the express consent of senior management (i.e., CEO, COO, CFO, CIO or VP of HR).

- Email is provided to the users of  primarily to enhance their ability to conduct  business.

- Email will be stored in the system for up to a maximum of 75 MB per mailbox. Mailbox is defined as the combined total of deleted items, inbox, sent items and any user-created email folders. Users will receive a warning message stating that they need to clear out space when their mailbox size reaches 50 MB. However, once the mailbox storage space exceeds 75 MB, users will not be able to send new mail messages until the mailbox size falls below the 75 MB limit. However, in all cases, users will continue to receive incoming messages.

- The maximum size of any individual incoming email message will be 20 MB.

- Terminated employees will have all email access immediately blocked.

- Users who leave the company will have all new emails automatically forwarded to their supervisor, or their designated representative, for 30 days.

- The former employee’s supervisor is responsible for disseminating stored emails to the appropriate party. Thirty days after the date of termination, the former employee’s mailbox will be permanently removed from the system.

The following items are the corporate policy statements for content:

- Use of profane, inappropriate, pornographic, slanderous or misleading content in email is prohibited.

- Use of email to spam (i.e., global send, mail barrage) is prohibited. This includes the forwarding of chain letters.

- Use of email to communicate sexual or other harassment is prohibited. Users may not include any words or phrases that may be construed as derogatory based on race, colour, sex, age, disability, national origin or any other category.

- Use of email to send unprofessional or derogatory messages is prohibited.

- Forging of email content (e.g., identification, addresses) is prohibited.

- All outgoing email will automatically include the following statement: “This email is intended solely for the person or entity to which it is addressed and may contain confidential and/or privileged information. Any review, dissemination, copying, printing or other use of this email by individuals or entities other than the addressee is prohibited. If you have received this email in error, please contact the sender immediately, and delete the material from your computer.”

The following items are the corporate policy statements for usage:

- Any email activity that is in violation of policy statements or that constitutes suspicious or threatening internal or external activity will be reported.

- When sending email, users should verify all recipients to whom they are sending the message(s).

- Be aware that deleting an email message does not necessarily mean it has been deleted from the system.

Facebook® is a registered trademark of Facebook, Inc. Twitter® is a registered trademark of Twitter, Inc. Google+® is a registered trademark of Google, Inc. MySpace® is a registered trademark of MySpace, Inc. LinkedIn® is a registered trademark of LinkedIn Corporation. Foursquare® is a registered trademark of Foursquare Labs, Inc. TUMBLR® is a registered trademark of Tumblr, Inc.

Hazard Communication

- All  employees have a right to know what chemicals they work with, what the hazards are and how to handle them safely.

- Safety Data Sheets (SDS) are documents provided by the supplier of a chemical that detail the chemical contents, associated hazards and general safe-handling guidelines. At , the SDS collection is located at (insert location). Employees are free to utilize the SDS as needed.

- General rules for handling chemicals in an office environment are:

- Read all label warnings and instructions.

- Follow instructions for quantity.

- Minimize contact with chemicals. Use double-layer cloths or gloves to protect your skin, and keep your face clear of the area to reduce inhalation.

- Always wash your hands after handling chemicals.

- If a chemical enters your eye(s) immediately hold open the injured eye(s) and rinse with clean, cool water for 15 minutes.  Then be sure to report the injury immediately.

- Any questions or concerns regarding chemicals should be reported to your supervisor and human resources.

- All chemical containers must be labelled in order to identify contents and hazards. Most labels use numbers to rank the hazard level in three important areas:

- FIRE – for flammable materials

- HEALTH – for any health risks posed by the material to handlers

- REACTIVITY – for materials that may be dangerously unstable

After each hazard (Fire, Health, and Reactivity), a number from 1 to 4 will be assigned. The number reflects the degree (or amount) of hazard:

- 1 = Minimal

- 2 = Slight

- 3 = Moderate

- 4 = Serious

Bloodborne Pathogens

- Blood and other bodily fluids can carry pathogens, which are capable of spreading diseases to others. This includes HIV—which leads to AIDS—and hepatitis.

- Because we cannot tell by looking at a person if they are infected with a pathogenic disease, we must take precautions following an illness or injury when bodily fluids are released.

- In the event of a person losing bodily fluids, avoid the area and warn others to do the same.

- In the event that you find spilled bodily fluids, a syringe or other medically contaminated materials, do not attempt to clean it up by yourself. Call human resources immediately for instructions.

Personal Protective equipment (PPE)

Inspect PPE prior to each use. Do not use damaged PPE. You are required to maintain and keep PPE clean.

Safety glasses – must be worn at all times in designated areas

Hard hats – must be worn at all times in designated areas.

Gloves – work gloves must be worn at all times when handling sharp or rough stock, welding or while performing other jobs that could cause hand injuries. Synthetic gloves must be worn when handling chemicals.

- Respirators – only employees trained and authorized to use respirators are allowed to do so.

- Hearing protection – required in areas where noise exposure is more than 90dBA (85dBA if you have already experienced a hearing loss).

Lockout/Tag Out

Prior to working on any machinery when guards are removed, every energy source (electrical, hydraulic, chemical, mechanical, etc.) must be deactivated, stored energy dissipated, and the control locked in the “off” (safe) position.

Never remove or tamper with a lockout performed by another employee or contractor. A lockout could consist of a lock applied to a control such as a switch, breaker or valve. A tag containing words such as “DANGER—DO NOT OPERATE” may also be used for lockout. If you see the lock, the tag or both applied to an energy control device, it means, “Keep your hands off.”

- Do not perform any maintenance, inspection, cleaning, adjusting or servicing of any equipment without following the company's lockout/tag out program.

- If required to work on powered equipment (hydraulic, electrical, air, etc.), you must have your personal padlock with your name on it and personal key on your person at all times.

- Disconnect and padlock all machine power disconnects in the “off” position before removing guards for the purpose of working on or in the machinery or approaching its unguarded parts. (NOTE: When more than one employee is working on a single piece of equipment, each employee must use his or her own padlock along with lock-out tongs to lock out the equipment. When the work is completed, each worker must remove only his or her lock.

- Do not commence equipment repair or maintenance work until you have verified that the tagged or locked out switch or control cannot be overridden or bypassed.

- Replace all guards before removing personal padlocks from the control.

- Do not use or remove another employee's protective lock. Do not remove a lock from equipment unless you placed it there.

- Before machinery is put back into use after lockout/tag out, give a verbal announcement or sound a warning to fellow employees.

Confined Space

Only trained and authorized employees are permitted to enter confined spaces. If you believe that your job requires confined space entry, contact your supervisor prior to undertaking the work. Confined spaces are not meant for human occupancy, areas that have limited means of entry and exit, and have electrical, chemical, thermal, atmospheric or entrapment hazards.

Respiratory Protection

- Do not perform an operation requiring a respirator unless you have been approved to use a respirator, fitted and trained the company's respiratory protection program.

- Inspect respirators for cracked or worn parts before and after each use and after cleaning.

- Do not work in an area that requires the use of respiratory equipment if you fail to obtain a tight seal between the respirator and your face.

- Do not wear a respirator if facial hair prevents a tight seal between the respirator and your face.

- Clean and sanitize respiratory equipment according to the manufacturer’s recommendations after each use.

- Store respiratory equipment in a clean and sanitary location.

Fire Prevention

Smoking is only allowed in designated exterior smoking areas.

No candles or open flames are allowed within the office facility.

- Only space heaters provided by the company are approved for use within the facility. Employees using space heaters are responsible to turn the heater off when leaving their desk for extended periods of time (lunch, end of the workday, etc.).

- No flammable chemicals are allowed inside the building at any time. If you feel that there is a work-related need to use a flammable chemical, contact the supervisor for guidance on hazard communication and fire safety.

Electrical Safety

- With the exception of independently fused multi-tap cords for computers, extension cords are not allowed in office areas.

- Keep electrical cords out of areas where they will be damaged by stepping on or kicking them.

- Turn electrical appliances off with the switch, not by pulling out the plug.

- Turn all appliances off before leaving for the day.

- Never run cords under rugs or other floor coverings.

- Any electrical problems should be reported immediately.

- The following areas must remain clear and unobstructed at all times:

- Exit doors

- Aisles

- Electrical panels

- Fire extinguishers

Lifting

Plan the move before lifting; ensure that you have an unobstructed pathway.

Test the weight of the load before lifting by pushing the load along its resting surface.

If the load is too heavy or bulky, use lifting and carrying aids such as hand trucks, dollies, pallet jacks and carts, or get assistance from a co-worker.

If assistance is required to perform a lift, coordinate and communicate your movements with those of your co-worker.

Position your feet 45 to 90 centimetres apart with one foot slightly in front of the other.

Face the load.

Bend at the knees, not at the back.

Keep your back straight.

Get a firm grip on the object using your hands and fingers. Use handles when they are present.

Hold the object as close to your body as possible.

While keeping the weight of the load in your legs, stand to an erect position.

Perform lifting movements smoothly and gradually; do not jerk the load.

If you must change direction while lifting or carrying the load, pivot your feet and turn your entire body. Do not twist at the waist.

Set down objects in the same manner as you picked them up, except in reverse.

Do not lift an object from the floor to a level above your waist in one motion. Set the load down on a table or bench and then adjust your grip before lifting it higher.

Never lift anything if your hands are greasy or wet.

Wear protective gloves when lifting objects that have sharp corners or jagged edges.

Ladders & Stepladders

- Read and follow the manufacturer's instructions label affixed to the ladder if you are unsure of how to use the ladder.

- Do not use ladders that have loose rungs, cracked or split side rails, missing rubber foot pads or are otherwise visibly damaged.

- Keep ladder rungs clean and free of grease. Remove buildup of material such as dirt or mud.

- Do not place ladders in a passageway or doorway without posting warning signs or cones that detour pedestrian traffic away from the ladder. Lock the doorway that you are blocking with the ladder and post signs that will detour traffic away from your work.

- Do not place a ladder at a blind corner or doorway without diverting foot traffic by blocking or roping off the area.

- Allow only one person on the ladder at a time.

- Face the ladder when climbing up or down it.

- Maintain three-point contact by keeping both hands and one foot or both feet and one hand on the ladder at all times when climbing up or down.

- When performing work from a ladder, face the ladder and do not lean backward or sideways from the ladder. Do not jump from ladders or step stools.

- Do not stand on tables, chairs, boxes or other improvised climbing devices to reach high places. Use a ladder or step stool.

- Do not stand on the top two rungs of any ladder.

- Do not stand on a ladder that wobbles, or that leans to the left or right of centre.

- When using a straight or extension ladder, extend the top of the ladder at least 1 metre above the edge of the landing.

- Secure the ladder in place by having another employee hold it if it cannot be tied to the structure.

- Do not move a rolling ladder while someone is on it.

- Do not place ladders on barrels, boxes, loose bricks, pails, concrete blocks or other unstable bases.

- Do not carry items in your hands while climbing up or down a ladder.

Housekeeping

Do not place materials such as boxes or trash in walkways and passageways.

Sweep up shavings from around equipment such as drill presses, lathes or planers by using a broom and a dust pan.

Mop up water around drinking fountains, drink dispensing machines and ice machines immediately.

Do not store or leave items on stairways.

Do not block or obstruct stairwells, exits or accesses to safety and emergency equipment such as fire extinguishers or fire alarms.

Do not block the walking surfaces of elevated working platforms, such as scaffolds, with tools or materials that are not being used.

Straighten or remove rugs and mats that do not lie flat on the floor.

Remove protruding nails or bend them down into the lumber by using a claw hammer.

Return tools to their storage places after using them.

Do not use gasoline for cleaning purposes.

Use caution signs or cones to barricade slippery areas such as freshly mopped floors.

Heavy Equipment Operation

No passengers are permitted on heavy equipment.

Keep windows and windshields clean.

Do not use heavy equipment if the horn and/or backup alarm do not sound.

Turn off the engine before leaving heavy equipment unattended.

Do not jump off of or onto any heavy equipment.

Keep heavy equipment in gear when going down grade. Do not use neutral.

Display the "Slow Moving Vehicle" sign when operating heavy equipment on roads.

Do not operate backhoes, power shovels and other heavy equipment within 1 metre from the edge of an excavation.

Do not use a bucket or other attachments for a staging or temporary platform for workers.

Do not operate a backhoe over or across underground utilities that are marked by paint, flagged or staked.

Set swing brake of a backhoe bucket arm when moving the vehicle to and from the digging site.

Stay in the compartment during operation of heavy equipment. Do not reach in or attempt to operate controls from outside the piece of equipment.

Crane Safety

Do not use load hooks that are cracked, bent or broken.

Do not use a crane that does not have its rated load capacity indicated on each side of the crane or on its load block.

Passengers are not permitted to ride inside the operator's cab of a truck crane.

Keep crane windows clean. Do not use a crane if its windows are broken.

Do not exceed the rated load capacity as specified by the manufacturer.

Do not operate a crane on soft ground without using cribbing and mats.

Fully extend outriggers before attempting a lift.

Stay outside the barricades of the posted swing radius.

Do not perform any crane refits or modifications without the manufacturer's approval.

Do not leave the crane unattended with a hoisted load.

Do not hoist loads over people.

Do not drive on the road shoulders.

Wear a high visibility vest when working as a signalman.

Only follow the signals of the person designated to give you signals when operating a crane.

Replace the belts, gears or rotating shaft guards after servicing a crane; do not use the crane if guards are missing from these areas.

Sling Safety

Do not use chain slings if links are cracked, twisted, stretched or bent.

Do not shorten slings by using make-shift devices such as knots or bolts.

Do not use a kinked chain.

Protect slings from the sharp edges of their loads by placing pads over the sharp edges of the items that have been loaded.

Wear work gloves when handling rough, sharp-edged or abrasive chains, cables, ropes or slings.

Do not alter or remove the safety latch on hooks. Do not use a hook that is missing a safety latch or has a bent latch.

Do not place your hands between the sling and its load when the sling is being tightened around the load.

Lift the load from the centre of hooks, not from the point.

Labour Personnel Safety

Do not start work until barricades, barrier logs, fill or other protections have been installed to isolate the work area from local traffic.

Reflective warning vests must be worn by traffic flagmen who are assigned to control traffic.

Do not approach any heavy equipment until the operator has seen you and has signalled to you that it is safe to approach.

Do not work outdoors during lightning storms.

Drink plenty of clear liquids during your breaks.

Take breaks in shaded areas.

Scaffold Safety

Follow the manufacturer's instructions when erecting the scaffold.

Do not work on scaffolds outside during stormy or windy weather.

Do not climb on scaffolds that wobble or lean to one side.

Initially inspect the scaffold prior to mounting it. Do not use a scaffold if any pulley, block, hook or fitting is visibly worn, cracked, rusted or otherwise damaged. Do not use a scaffold if any rope is frayed, torn or visibly damaged.

Do not use any scaffold tagged "Out of Service."

Do not use unstable objects such as barrels, boxes, loose brick or concrete blocks to support scaffolds or planks.

Do not work on platforms or scaffolds unless they are fully planked.

Do not use a scaffold unless guardrails and all flooring are in place.

Level the scaffold after each move. Do not extend adjusting leg screws more than 30 centimetres.

Do not walk or work beneath a scaffold unless a wire mesh has been installed between the midrail and the toeboard or planking.

Use your safety belts and lanyards when working on scaffolding at a height of 3 metres or more above ground level. Attach the lanyard to a secure member of the scaffold.

Do not climb the cross braces for access to the scaffold. Use the ladder.

Do not jump from, to or between scaffolding.

Do not slide down cables, ropes or guys used for bracing.

Keep both feet on the decking. Do not sit or climb on the guardrails.

Do not lean out from the scaffold. Do not rock the scaffold.

Keep the scaffold free of scraps, loose tools, tangled lines and other obstructions.

Do not throw anything over the side unless a spotter is available. Use the debris chutes or lower things by hoist or by hand.

Do not move a mobile scaffold if anyone is on the scaffold.

Chock the wheels of the rolling scaffold by using the wheel blocks, and also lock the wheels by using your foot to depress the wheel-lock, before using the scaffold.

Electrical – Hot Line Safety

Clean all protective line equipment after each use, prior to storage.

Wear rubber gloves or use hot sticks when removing tree branches, limbs or similar objects from contact with high voltage lines, panels or equipment.

Do not wear rubber protective gloves while climbing or descending a pole.

Wear 100 per cent cotton or flame-resistant shirts or jumpers (with sleeves rolled down) and protective hats when working on or near live parts, lines, and panels, or when climbing poles.

Wear body belts with straps or lanyards when working at an elevated position (poles, towers, etc.).

Visually inspect body belts and straps before use for defects, wear and damage.

When working with lines of 600 volts or more:

Wear rubber gloves or use hot sticks when placing protective equipment around energized voltage conductors.

Do not work on a line that is removed from service until the line is cleared, tagged, tested and grounded.

Treat bare wire communication conductors on structures as energized lines unless they are protected by insulated conductors.

Treat bare wire communication conductors on power poles and structures as energized lines (with voltages in excess of 600 volts) unless the conductors are protected by insulating materials.

Do not remove any ground until all employees are clear of the temporary grounded lines or equipment.

After a capacitor has been disconnected from its source of supply, wait five minutes before short-circuiting and grounding it.

Do not contact the terminals, jumpers or line wires connected directly to capacitors until the capacitors have been short-circuited and/or grounded.

Visually inspect and wipe down all hot line tools each day before use.

Do not wear rubber gloves with protectors while using hot line tools.

Do not use defective hot line tools. Mark them as defective and turn them in for repair or replacement.

Hazardous Materials

Follow the instructions on the label and in the corresponding Safety Data Sheet (SDS) for each chemical product you will be using in your workplace.

Do not use protective clothing or equipment that has split seams, pin holes, cuts, tears or other signs of damage.

Each time you use your gloves, wash them before removing by using cold tap water and normal hand-washing motions. Always wash your hands after removing the gloves.

Do not use chemicals from unlabelled containers or unmarked cylinders.

Always use chemical goggles and a face shield before handling chemicals labelled "Corrosive" or "Caustic."

Do not store chemical containers labelled "Oxidizer" with containers labelled "Corrosive" or "Caustic."

Do not smoke while handling chemicals labelled "Flammable."

Machine Safety

Do not remove, alter or bypass any safety guards or devices when operating mechanical equipment such as mechanical power presses, press brakes, metal working lathes, radial arm saws, drills, horizontal mills, punch presses, or when bending or forming materials.

Replace guards before starting the machine and after making adjustments or repairs.

Do not try to stop a workpiece as it goes through any machine. If the machine becomes jammed, disconnect the power before clearing it.

Do not wear loose clothing, jewellery or ties in the machine shop.

Read and obey safety warnings posted on or near any machinery.

Long hair must be contained under a hat or hair net, regardless of gender.

Power Saws

Wear the prescribed personal protective equipment such as goggles, gloves, dust masks and hearing protection when operating the power saw.

Turn the saw power off before making measurements, adjustments or repairs.

Keep your hands away from the exposed blade.

Operate the saw at full cutting speed with a sharp blade to prevent kickbacks.

If the saw becomes jammed, turn the saw off before pulling out the incomplete cut.

Do not alter the anti-kickback device or blade guard.

Abrasive Cut-off Saws and Chop Saws

Do not use the saw if the lower portion of the blade hood is not adjusting itself to the thickness of the material being cut as the blade passes through the material.

Allow the saw to return to its stored position before removing the cut material from the table.

Lay the material squarely and solidly down before sawing it.

Use a clamp to secure cylindrical materials to the saw table before cutting.

Do not use the abrasive cut-off saw for grinding or sharpening any tool or material.

Drill Press

Replace the belt and pulley guard before starting the press and after making adjustments or repairs to the press.

Make sure the press table is locked into place and the depth adjustment is set before turning on the power.

Remove the chuck key before turning on the power.

Clamp small pieces of stock that are to be drilled in the drill vise or to the work bench.

Do not wear rings, wristwatches or gloves when working with the drill press.

Turn off the power and wait until the machine has come to a complete stop before reaching for the piece of stock.

Keep the drill press and the area around the drill press clear of metal cuttings and lubricants.

When adjusting the chuck size, do not turn on the power to the drill press while holding the chuck with your hand.

Grinders and Grinding Wheels

Prior to installing a new grinding wheel, inspect the wheel for cracks or other visible damage by conducting a “ring test.” Tap the wheel gently with a plastic screwdriver handle to detect cracks that are not visible. If the wheel has a dead sound rather than a ring sound, do not use the wheel.

Do not use a grinding wheel that has chips, cracks or grooves.

Do not use the grinding wheel if it wobbles. Tag it “Out of Service."

Adjust the tongue guard so that it is no more than 1 centimetre from the grinding wheel.

Adjust the tool rest so that it is no more than 1 centimetre from the grinding wheel.

Do not use a bench grinder if it is not firmly anchored to the work bench or other secure platform.

Do not install a grinding wheel if its labelled RPM is lower than the rated speed of the grinder.

Stand to one side of the plane of a rotating grinding wheel during the first few seconds of operation.

Grind on the side of the wheel only when it is made for side grinding.

Turn the grinder off when you have finished working with it, and remain at the machine until it has completely stopped turning.

Portable Grinders

Do not use a portable hand held grinder with a wheel diameter larger than 2 inches unless the grinder has a positive action switch to ensure the switch cannot be locked in the “on” position.

Do not use a portable grinder if the grinding wheel guard is missing.

Do not clamp a portable grinder in a vice to use it as a bench grinder.

Pneumatic and Hydraulic Tools

Do not point a charged compressed air hose at bystanders or use it to clean your clothing.

Lock and/or tag tools "Out of Service" to prevent use of the defective or damaged tool.

Do not use tools that have handles with burrs or cracks.

Do not use compressors if their belt guards are missing. Replace the belt guard before using the compressor.

Turn the tool off and let it come to a complete stop before leaving it unattended.

Disconnect the tool from the air line before making any adjustments or repairs to the tool.

Electrical Powered Tools

Do not use power equipment or tools on which you have not been trained.

Keep power cords away from the path of drills, saws, vacuum cleaners, floor polishers, mowers, knives and grinders.

Do not use cords that have splices, exposed wires, or cracked or frayed ends.

Do not carry plugged-in equipment or tools with your finger on the switch.

Do not carry equipment or tools by the cord.

Disconnect the tool from the outlet by pulling on the plug, not the cord.

Turn the tool off before plugging or unplugging it.

Do not leave tools that are on unattended.

Do not handle or operate electrical tools when your hands are wet or when you are standing on wet floors.

Do not operate spark-inducing tools such as grinders near containers labelled "Flammable."

Turn off the electrical tool and unplug it from the outlet before attempting repairs or service work. Tag the tool "Out of Service."

Do not use extension cords or other three-pronged power cords that have a missing prong.

Do not use an adapter such as a cheater plug that eliminates the ground.

Do not run extension cords through doorways or through holes in ceilings, walls or floors.

Do not drive over, drag, step on or place objects on a cord.

Do not use a power hand tool while wearing wet cotton gloves or wet leather gloves.

Never operate electrical equipment barefooted. Wear rubber-soled or insulated work boots.

Do not operate a power hand tool or portable appliance while holding a part of the metal casing or while holding the extension cord in your hand. Hold all portable power tools by the plastic hand grips or other nonconductive areas designed for gripping purposes.

Hand Tool Safety

Do not continue to work if your safety glasses become fogged. Stop work and clean the glasses.

Tag worn, damaged or defective tools "Out of Service" and do not use them.

Do not use a tool if the handle surface has splinters, burrs, cracks or splits.

Do not use impact tools such as hammers, chisels, punches or steel stakes that have mushroomed heads.

When handing a tool to another person, direct sharp points and cutting edges away from yourself and the other person.

Do not carry sharp or pointed hand tools such as screwdrivers, scribes, chisels or files in your pocket unless the tool or your pocket is sheathed.

Do not perform "make-shift" repairs to tools.

Do not throw tools from one location to another or from one employee to another.

Transport hand tools only in tool boxes or tool belts. Do not carry tools in your hand or clothing when climbing.

Forklift Safety

Only employer-authorized personnel may operate forklifts.

Do not exceed the forklift lift capacity (refer to the lift capacity plate on the forklift).

Follow the manufacturer's guidelines concerning changes in the lift capacity before adding an attachment to a forklift.

Lift the load 3 centimetres to test for stability: If the rear wheels are not in firm contact with the floor, take a lighter load or use a forklift with a higher lift capacity.

Do not raise or lower a load while you are in route. Wait until you are in the loading area and have stopped before raising or lowering the load.

After picking up a load, adjust the forks so that the load is tilted slightly backward for added stability.

Drive with the load at a ground clearance height of 10 to 15 centimetres at the tips and 5 centimetres at the heels in order to clear most uneven surfaces and debris.

Drive at a walking pace and apply brakes slowly to stop when driving on slippery surfaces such as icy or wet floors.

Approach railway tracks at a 45-degree angle.

Do not drive over objects in your pathway.

Do not drive into an area with a ceiling height that is lower than the height of the mast or overhead guard.

Steer wide when making turns.

Do not drive up to anyone standing or working in front of a fixed object, such as a wall.

Do not drive along the edge of an unguarded elevated surface, such as a loading dock or staging platform.

Obey all traffic rules and signs.

Sound the horn when approaching blind corners, doorways or aisles to alert other operators and pedestrians.

Do not exceed a working speed of 8 kilometres per hour, and slow down in congested areas.

Stay a minimum distance of three forklift lengths from other operating mobile equipment.

Drive in reverse and use a signal person when your vision is blocked by the load.

Look in the direction that you are driving; proceed when you have a clear path.

Do not use bare forks as a man-lift platform.

Do not load pallets of wood that are not banded on to the forklift.

Do not drive the forklift while people are on an attached aerial lift platform.

Drive loaded forklifts forward up ramps and in reverse when driving down a ramp.

Drive unloaded forklifts in reverse when going up a ramp and forward when going down a ramp.

Raise the forks an additional 5 centimetres to avoid hitting or scraping the ramp surface as you approach the ramp.

Do not attempt to turn around on a ramp.

Do not use “reverse” to brake.

Lower the forks completely, turn off the engine and set the parking brake before leaving your forklift.

Electrical Arc Welding

Obey all signs posted in the welding area.

Use the welding screen to shield other employees from flying slag and intense light.

Wear a welding helmet with filter plates and lenses, welding gloves, a long sleeve shirt and long pants when welding.

Do not perform welding tasks while wearing wet cotton gloves or wet leather gloves.

Do not change electrodes with bare hands; use dry welder’s gloves.

Do not use the welding apparatus if the power cord is cut, frayed, split or otherwise visibly damaged or modified.

Compressed Gas Cylinders – Storage and Handling

Do not handle oxygen cylinders if your gloves are greasy or oily.

Store all cylinders in the upright position.

Place valve protection caps on gas cylinders that are in storage or not in use.

Do not lift cylinders by the valve protection cap.

Do not store compressed gas cylinders in areas where they can come in contact with chemicals labelled "Corrosive."

Do not place cylinders against electrical panels or live electrical cords where the cylinder can become part of the circuit.

Do not store oxygen cylinders near fuel gas cylinders such as propane or acetylene, or near combustible material such as oil or grease.

If a cylinder is leaking around a valve or a fuse plug, move it to an outside area away from where work is performed and tag it to indicate the defect.

Hand Truck Safety

When loading hand trucks, keep your feet clear of the wheels.

Do not exceed the manufacturer's load rate capacity. Read the capacity plate on the hand truck if you are unsure.

Place the load so that it will not slip, shift or fall. Use the straps, if they are provided, to secure the load.

For extremely bulky or pressurized items, such as gas cylinders, strap or chain the items to the hand truck.

Tip the load slightly forward so that the tongue of the hand truck goes under the load.

Push the tongue of the hand truck all the way under the load that is to be moved.

Keep the centre of gravity of the load as low as possible by placing heavier objects below the lighter objects.

Push the load so that the weight will be carried by the axle and not the handles.

If your view is obstructed, ask a spotter to assist in guiding the load.

Do not walk backward with the hand truck, unless going up ramps.

When going down an incline, keep the hand truck in front of you so that it can be controlled at all times.

Move hand trucks at a walking pace.

Store hand trucks with the tongue under a pallet, shelf or table.

Welding, Cutting and Brazing

Obey all signs posted in the welding area.

Do not leave oily rags, paper such as blueprints or other combustible materials in the welding, cutting or brazing area.

Do not perform "hot work," such as welding, metal grinding or other spark producing operations, within 15 metres of containers labelled "Flammable" or "Combustible."

Use the red hose for gas fuel and the green hose for oxygen.

Do not use worn, burned or cracked hoses.

Do not use oil, grease or other lubricants on the regulator.

Clear hoses before attaching the torch.

Ignite torches with friction lighters only. Do not use a cigarette lighter.

Do not change electrodes with bare hands; use dry rubber gloves.

Bleed oxygen and fuel lines at the end of your shift.

Do not wear contact lenses when welding.

When welding, wear a welding helmet with filter plates and lenses, welding gloves, a long sleeve shirt, long pants, and an apron.

Wear clothing made of cotton, wool, or nonsynthetic fibres. Wear long sleeve shirts, long pants, boots and gloves.

Use the welding screen to shield other employees from flying slag and intense light.

Before welding, place the floor fan behind you to keep welding fumes away from your face.

Do not use a torch on any container that is labelled "Flammable" or "Combustible."

Spray Painting

Store rags that have oil or paint on them in closed metal containers labelled "oily rags."

Press the pressure relief valve on painting canisters and painting guns prior to disconnecting them.

Do not eat, drink, smoke or apply cosmetics where spray painting is taking place.

Do not operate spark-inducing tools such as grinders, drills or saws near containers labelled “Flammable " or in an explosive atmosphere such as spray paint booths or rooms.

Perform all spray painting operations in the spray booth or room.

Do not point the spray gun toward any part of your body or at anyone else.

Turn the control switch to the "on" position to operate the mechanical ventilation system before and during all spraying operations.

Heat-related Illnesses

Wear loose, light coloured clothing and a hat.

Adapt to working in hot conditions gradually, avoid over-exerting yourself during peak temperature periods.

Drink water frequently—at least 8 ounces every 20 to 30 minutes. Stay away from liquids containing caffeine, as they tend to increase urination, which causes rapid depletion of body liquids.

Watch for the following signs and symptoms of heat-related illnesses:

Heat Cramps – severe muscle spasms in the back, stomach, arms and legs, which are attributed to the loss of body salt and water during periods of heavy perspiration.

Heat Exhaustion – heavy sweating, cool or pale skin, nausea, headache, weakness, vomiting and fast pulse.

Heat Stroke – high body temperature, minimal sweating, red and dry skin, rapid breathing and pulse, headache, nausea, vomiting, diarrhea, seizures, confusion or unconsciousness.

Treat heat illness as soon as possible by doing the following:

Heat Cramps – move to a cooler area and drink approximately 6 ounces of water every 15 minutes. Follow-up with a medical examination.

Heat Exhaustion – move to a cooler area and lie down with your legs slightly elevated. Cool your body by fanning and applying cool, wet towels and drink approximately 6 ounces of water every 15 minutes. Follow up with a medical examination.

Heat Stroke – Call 911 immediately. Move to a cooler area, remove your outer clothing, immerse yourself in cool water or apply cool, wet towels or cloths to the body. Do NOT drink liquid, and wait for emergency personnel to arrive.

Cold Weather Illnesses

Exposed skin freezes within one minute at -28° C when the wind speed is 8 kilometres per hour (km/h) and will freeze at -12° C if the wind speed is 8 km/h. When skin or clothing are wet, injury or illness can occur in temperatures above -12° C and even above freezing (0° C). When the body is unable to warm itself, hypothermia and frostbite can set in, resulting in permanent tissue damage and even death.

Watch for the following signs of cold-related illnesses:

Uncontrollable shivering

Slurred speech

Clumsy movements

Fatigue

Confused behaviour

Layer clothing to keep warm enough to be safe, but cool enough to avoid perspiring excessively.

Inner layer – synthetic weave to keep perspiration away from the body.

Middle layer – wool or synthetic fabric to absorb sweat and retain body heat.

Outer layer – material designed to break the wind and allow for ventilation.

Wear a hat to avoid losing almost 40 per cent of your body heat.

Place heat packets in gloves, vests, boots and hats to add heat to the body.

Watch out for the effects of cold temperatures on common body functions such as:

Reduced dexterity and hand usage

Cold tool handles reducing your grip force

The skin’s reduced ability to feel pain in cold temperatures

Reduced muscle power and time to exhaustion

is firmly committed to your safety.  We will do everything possible to prevent workplace accidents and are committed to providing a safe working environment for you and all employees. We value you not only as an employee, but also as a human being who is critical to the success of your family, the local community and . You are encouraged to report any unsafe work practices or safety hazards encountered on the job. All accidents and/or incidents (no matter how slight) are to be immediately reported to the supervisor on duty.

A key factor in implementing this policy will be the strict compliance to all applicable federal, provincial and local standards, and  policies and procedures. Failure to comply with these policies may result in disciplinary actions. Respecting this,  will make every reasonable effort to provide a safe and healthful workplace that is free from any recognized or known potential hazards. Additionally,  subscribes to these principles:

All accidents are preventable through implementation of effective safety and health control policies and programs.

Safety and health controls are a major part of our work every day.

Accident prevention is good business. It minimizes human suffering, promotes better working conditions for everyone, holds  in higher regard with customers, and increases productivity. This is why  will comply with all safety and health regulations that apply to the course and scope of operations.

Management is responsible for providing the safest possible workplace for employees. Consequently, management of  is committed to allocating and providing all of the resources needed to promote and effectively implement this safety policy.

Employees are responsible for following safe work practices, company rules, and for preventing accidents and injuries.  Management will establish lines of communication to solicit and receive comments, information, suggestions and assistance from employees where safety and health are concerned.

Management and supervisors of  will set an example with good attitudes and strong commitment to safety and health in the workplace. Toward this end, management must monitor the company’s safety and health performance, working environment, and conditions to ensure that program objectives are achieved.

Our safety program applies to all employees and individuals affected or associated in any way by the scope of this business.  Everyone’s goal must be to constantly improve safety awareness and to prevent accidents and injuries.

Everyone at  must be involved and committed to safety. This must be a team effort. Together, we can prevent accidents and injuries and keep each other safe and healthy in the workplace.

By signing this document, I confirm the receipt of ’s employee safety handbook. I have read and understood all policies, programs and actions as described, and agree to comply with these set policies.

Employee Signature						Date